## Schedule
SECTION 1A: PRELIMINARY AND GENERAL: FIXED CHARGES
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
612 | A |  | SECTION 1A: PRELIMANRY AND GENERAL: FIXED CHARGES
613 |  | 8.3.1 | Contractual Requirements
614 | A.1 |  | Meeting all Contractual Requirements | Sum | 1
615 |  | 8.3.2.1 | Facilities for Engineer (SABS 1200AB)
616 | A.2 |  | Provision of Office for the Engineer's Representative as per PSAB 3.2, including toilet facilities as per PSAB 5.2 | Sum | 1
617 | A.3 |  | Provision of internet access as per PSAB 4.1 | Sum | 1
618 | A.4 |  | Provision of survey equipment as per PSAB 4.2 | Sum | 1
619 | A.5 |  | Name Board as per drawing no. BCE035-MW-STD-100 and Engineer's instruction | No. | 2
621 |  |  | Facilities for Contractor
622 | A.6 | 8.3.2.2 | Offices, storage sheds, fencing, workshops, laboratories, etc. | Sum | 1
623 | A.7 | 8.3.2.2 | Ablution and latrine facilities | Sum | 1
624 | A.8 | 8.3.2.2 | Tools and equipment | Sum | 1
625 | A.9 | 8.3.2.2 | Water supplies, electric power and communications | Sum | 1
626 | A.10 | 8.3.2.2 | Dealing with water (See PSA 8.8.7) | Sum | 1
627 | A.11 | 8.3.3 | Other fixed charge obligations, including setting out of works, security of contractor's plant & personnel | Sum | 1
628 | A.12 |  | Remove all site establishment on completion | Sum | 1
629 |  |  | Temporary Works
630 | A.13 | 8.2.1 | Access to works including all temporary roads, and signage (road signs),excavations, ramps, including submission and approval of relevant authorities | Sum | 1
631 |  |  | Quality Control
| Total Carried Forward | [5 empty] | 0
SECTION 1A: PRELIMINARY AND GENERAL: FIXED CHARGES
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
632 | A.14 | PSA 8.10 | Preparation and submission of Quality Control Plan and all activities necessary to comply with all requirements of the specified quality control system as per PS 5 and TS 2.33 | Sum | 1
633 | A.15 |  | Preparation, submission and approval of the required Construction Method Statements prior to work commencing | Sum | 1
1432 | A.16 | PSA 8.12 | Supply and Deliver Daily Diary Android Tablets | Prov Sum | 1 | 40000 | 40000
634 |  |  | Wayleaves
635 | A.17 | PSA 8.10 | Performing all preparatory work that defines all wayleave requirements throughout the construction and defects liability period. | Sum | 1
| Total Carried Forward To Summary | [5 empty] | 40000
SECTION 1B: PRELIMINARY AND GENERAL: TIME RELATED
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
636 | B |  | SECTION 1B: PRELIMINARY AND GENERAL: TIME RELATED
637 |  | 8.4.1 | Contractual Requirements
638 | B.1 |  | Maintaining all Contractual Requirements | Month | 7
639 |  | 8.4.2.1 | Operate and maintain facilities: Facilities for Engineer for duration of contract
640 | B.2 |  | Office for the Engineer's representative, incl. toilet facilities as per PSAB 3.2 and PSAB 5.2 | Month | 7
641 | B.3 |  | Internet access / wifi connection as per PSAB 4.1 | Month | 7
643 | B.4 |  | Name Board as per drg no. BCE035-MW-STD-100 and Engineer's instruction | Month | 7
645 |  |  | Operate and maintain facilities: Facilities for Contractor for duration of contract
646 | B.5 | 8.4.2.2 | Offices, storage sheds, fencing, workshops, laboratories, etc. | Month | 7
647 | B.6 | 8.4.2.2 | Ablution and latrine facilities | Month | 7
648 | B.7 | 8.4.2.2 | Tools and equipment | Month | 7
649 | B.8 | 8.4.2.2 | Water supplies, electricity supply and communications on site | Month | 7
650 | B.9 | 8.4.2.2 | Dealing with water (See PSA 8.8.7) | Month | 7
651 | B.10 | 8.4.4 | Company and head office overhead costs | Month | 7
652 | B.11 | 8.4.5 | Other time related charges, including security of contractor's plant & personnel | Month | 7
653 |  |  | Temporary Works
654 | B.12 | 8.2.2 | Access to works including all temporary roads, and signage (road signs),excavations, ramps, develop and maintenance traffic management plan, including submission and approval of relevant authorities | Month | 7
655 |  |  | Quality Control
| Total Carried Forward | [5 empty] | 0
SECTION 1B: PRELIMINARY AND GENERAL: TIME RELATED
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
656 | B.13 | PSA 2.6 | Maintain and update the Quality Control Plan and all activities necessary to comply with all requirements of the specified quality control system as per PS 5 and TS 2.32 | Month | 7
657 | B.14 | PSA 2.7 | Update / submit new Construction Method Statements as required from time to time | Month | 7
1433 | B.15 | PSA 2.11 | Maintain and update the Electronic Daily Diary | Month | 7
658 |  |  | Wayleaves
659 | B.16 | PSA 9.11 | Compliance with all wayleave requirements throughout the construction and defects liability period. | Month | 7
| Total Carried Forward To Summary | [5 empty] | 0
SECTION 1C: PRELIMINARY AND GENERAL: OHS
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
660 | C | PS10, PS11 | SECTION 1C: PRELIMINARY AND GENERAL: OHS
661 | C.1 |  | Preparation of the Contractor's site specific Health and Safety Plan | Lump Sum | 1
662 | C.2 |  | Contractor's obligations in respect of the Occupational Health and Safety Act and Construction Regulations | Lump Sum | 1
663 | C.3 |  | Contractor's time related obligations in respect of the Occupational Health and Safety Act and Construction Regulations | Month | 7
664 | C.4 |  | Provision of Personal Protective Equipment (PPE) | Sum | 1
665 |  |  | Provision of a full-time Construction Health and Safety Officer
666 |  |  | Cost of medical certificates and medical surveillance
667 | C.5 |  | (a) Initial (baseline) medical examinations | Lump Sum | 1
668 | C.6 |  | (b) Periodic examinations | Lump Sum | 1
669 | C.7 |  | (c) Exit examinations | Lump Sum | 1
670 | C.8 |  | Induction training | Lump Sum | 1
671 | C.9 |  | Provision of First Aid Boxes to GSR requirements and other emergency safety equipment such as fire extinguishers. | Lump Sum | 1
672 | C.10 |  | Transportation of Workers | Month | 5
674 | C.11 |  | Occupational Hygiene Surveys | Lump Sum | 1
679 | C.12 |  | Barricading | Month | 5
680 | C.13 |  | Safety notices and signs | Lump Sum | 1
682 | C.14 |  | Adequate ventilation and lighting during construction | Lump Sum | 1
| Total Carried Forward | [5 empty] | 0
SECTION 1C: PRELIMINARY AND GENERAL: OHS
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
683 | C.15 |  | Submission of the Health and Safety File (hard and soft copies) | Lump Sum | 1
684 | C.16 |  | Submission of Incident reports and monthly OHS compliance reports | No. | 6
| Total Carried Forward To Summary | [5 empty] | 0
SECTION 1D: PRELIMINARY AND GENERAL: ENVIRONMENT
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
685 | D |  | SECTION 1D: PRELIMINARY AND GENERAL: ENVIRONMENT
686 |  |  | Note: The rates priced in this Schedule of Quantities must be undertaken in such a manner to ensure full compliance with the project EMP. WULA and all applicable Environmental Regulation / Acts
687 | D.1 |  | Provide ECO to perform duties for the duration of the Construction Contract on Site, incl submission of all the Env Compliance Reports | Month | 6
688 | D.2 |  | Provide ECO to perform duties during the Defects Liability Period on Site, incl submission of Env Compliance Reports | Month | 5
689 | D.3 |  | Provide Environmental Monitor to perform duties for the duration of the Construction Contract on Site | Month | 6
690 | D.4 |  | Provide Environmental Monitor to perform duties during the Defects Liability Period on Site | Month | 5
691 | D.5 |  | Submission of Environmental File, obtaining approval from Rand Water's ECO, and maintaining the file for the full duration of the project, and up to the end of the defects liability period. | Sum | 1
694 |  |  | Monitoring (Provisional Items D.6 to D.17)
695 | D.6 |  | Dust monitoring using dust buckets spaced every 100m along route | Month | 6
696 | D.7 |  | Noise monitoring | Month | 6
697 | D.8 |  | Water quality monitoring : total dissolved solids (TDS), turbidity and pH | Month | 6
698 | D.9 |  | Provide and maintain environmental signage during the construction period | Month | 6
699 | D.10 |  | Archaeologist and horticulturist | Prov Sum | 1 | 50000 | 50000
700 | D.11 |  | Contractor's charges and profit | % | 50000
705 | D.12 |  | Search and Rescue of Plants and Vegetation | Prov Sum | 1 | 20000 | 20000
1049 | D.13 |  | Contractor's charges and profit | % | 20000
| Total Carried Forward | [5 empty] | 70000
SECTION 1D: PRELIMINARY AND GENERAL: ENVIRONMENT
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 70000
1050 | D.14 |  | Transporting of search and rescued plants to demarcated area on site, maintain, transport back to site and replant / water and back to Site | Prov Sum | 1 | 50000 | 50000
1051 | D.15 |  | Contractor's charges and profit | % | 50000
1052 | D.16 |  | Erosion control and silt management | Month | 6
716 | D.17 |  | Provisional Items for waste removal to Registered Waste Facility as per EMP, inclusive of all labour, plant, material, fuel, transport and haulage and dumping costs. | Prov Sum | 1 | 10000 | 10000
730 | D.18 |  | Landscaping and rehabilitation, including topsoil preparation, shaping, seeding and wetting if required. Seeds to be compatible with what is encountered on site | ha | 20
1053 | D.19 |  | Environmental Related signage on site | each | 5
1054 | D.20 |  | Fire protection equipment; flappers, extinguishers, mobile fire tank with pump / hoses, etc, adequate for every working front and camp site, etc. | Sum | 1
1055 | D.21 |  | Waste bins and receptacles that comply with the waste clauses of the EMP (all types of waste to be catered for throughout the working area). | Sum | 1
1056 | D.22 |  | Designated eating and smoking areas for site staff | Sum | 1
1057 | D.23 |  | Water cart / tanker to adequately provide dust control on site, including tanker / cart, driver, fuel, water, etc. | Month | 7
1058 | D.24 |  | Drip tray for each construction vehicles on site | Sum | 1
| Total Carried Forward To Summary | [5 empty] | 130000
SECTION 1E: PRELIMINARY AND GENERAL: ANCILLARY ITEMS
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
774 | E |  | SECTION 1E: PRELIMINARY AND GENERAL: ANCILLARY ITEMS
775 |  |  | As-Builts
776 | E.1 |  | The provision of Information for as-built drawings of the completed works as per TS 2.34 | Sum | 1
777 |  |  | Relocation of existing services
778 | E.2 |  | Provisional sum for the relocation of existing services (water mains, overhead or underground electrical, etc) by services utilities | Prov Sum | 1 | 50000 | 50000
1431 | E.3 |  | Contractors mark-up on Item above | % | 50000
779 |  |  | Additional surveys
780 | E.4 |  | Additional topographical surveys and underground service detection by nominated specialist. | Prov Sum | 1 | 75000 | 75000
781 | E.5 |  | Contractors mark-up on Item above | % | 75000
782 |  |  | Additional geotechnical investigations
783 | E.6 |  | Sum for additional geotechnical investigations (including grading analysis, compactibility tests, etc) by nominated specialists, where ordered by the Engineer. | Prov Sum | 1 | 50000 | 50000
784 | E.7 |  | Contractors mark-up on Item above | % | 50000
785 |  |  | Additional non-destructive pipeline testing
786 | E.8 |  | Provisional sum for additional non-destructive pipeline testing as directed by Engineer | Prov Sum | 1 | 50000 | 50000
787 | E.9 |  | Contractors mark-up on Item above | % | 50000
788 |  |  | Traffic Management Plan
789 | E.10 |  | Provisional sum for Traffic Management Plan and maintenance as directed by Engineer (Sum to include provision of Traffic signs as per typical drawing) | Prov Sum | 1 | 50000 | 50000
790 | E.11 |  | Contractors mark-up on Item above | % | 50000
791 |  |  | Other costs
792 | E.12 |  | Standing time costs | Days | 30
| Total Carried Forward | [5 empty] | 275000
SECTION 1E: PRELIMINARY AND GENERAL: ANCILLARY ITEMS
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 275000
1434 | E.13 |  | Provide assistance to Employer to prepare application to Eskom for increase in power supply to pump station site | Sum | 1
1435 | E.14 |  | Provide assistance to Employer to prepare application to Eskom for a power supply to reservoir site | Sum | 1
1436 | E.15 |  | Provisional sum for Eskom power supply to pump station and reservoir site | Prov Sum | 1 | 750000 | 750000
1437 | E.16 |  | Contractors mark-up on Item above | % | 750000
| Total Carried Forward To Summary | [5 empty] | 1025000
SECTION 1F: PRELIMINARY AND GENERAL: SOCIO ECONOMIC
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
796 | F |  | SECTION F: PRELIMINARY AND GENERAL: SOCIO ECONOMIC
797 |  |  | Skills Development Program
798 | F.1 |  | Accredited training programmes are targeted which will provide the beneficiaries with significant and recognized credit value in accordance with the National Qualification Framework (NQF). | Month | 6 | 20000 | 120000
799 | F.2 |  | Contractors mark-up on Items above | % | 120000
800 |  |  | Corporate Social Responsibility Program
803 |  |  | Community Liaison Officer
804 | F.3 |  | Community Liaison Officer. A key component in aiding the realisation of the SED objectives is effective community liaison with all the relevant role-players, structures, civic organisations and the community at large. | Month | 7 | 10000 | 70000
805 | F.4 |  | Contractors mark-up on Items above | % | 70000
1584 | F.5 |  | Project Steering Committee. (Allowance is made for eight (8) memebers per sitting). | Month | 7 | 4000 | 28000
1585 | F.6 |  | Contractors mark-up on Items above | % | 28000
| Total Carried Forward To Summary | [5 empty] | 218000
SECTION 1G: PRELIMINARY AND GENERAL: PROVISIONAL SUMS
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
809 | G |  | SECTION 1G: PRELIMINARY AND GENERAL:: PROVISIONAL SUMS
810 |  | 8.5 | Provisional Sums
813 | G.1 |  | Provide Indemnity for unused materials on site (bond cost) | Prov Sum | 1 | 100000 | 100000
815 | G.2 |  | Contractor's mark-up on Item above | % | 100000
820 | G.3 |  | Inspection of manufactured/fabricated materials by inspectors appointed by the Engineer | Prov Sum | 1 | 200000 | 200000
821 | G.4 |  | Contractor's mark-up on Item above | % | 200000
822 | G.5 |  | Accommodation for the Engineer's Representative (Prime Cost) | Prov Sum | 1 | 200000 | 200000
823 | G.6 |  | Contractor's mark-up on Item above | % | 200000
859 | G.7 |  | Allowance for Engineer's Representative Site Travel | Prov Sum | 1 | 100000 | 100000
860 | G.8 |  | Contractor's mark-up on Item above | % | 100000
| Total Carried Forward To Summary | [5 empty] | 600000
SECTION 1H: PRELIMINARY AND GENERAL: DAYWORKS
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
824 | H |  | SECTION 1H: PRELIMINARY AND GENERAL: DAYWORKS
825 |  | 8.7 | Labour by class
826 | H.1 |  | Unskilled Labourers | hours |  |  | Rate Only
827 | H.2 |  | Semi Skilled Labourers | hours |  |  | Rate Only
828 | H.3 |  | Skilled labour | hours |  |  | Rate Only
829 |  | 8.7 | Labour by trade
830 | H.4 |  | Construction Hand and Operator | hours |  |  | Rate Only
831 | H.5 |  | Carpenter | hours |  |  | Rate Only
832 | H.6 |  | Clerk | hours |  |  | Rate Only
833 | H.7 |  | Artisans | hours |  |  | Rate Only
834 | H.8 |  | Foreman | hours |  |  | Rate Only
835 | H.9 |  | Gangers and Section Leaders | hours |  |  | Rate Only
836 | H.10 |  | Steel fixer | hours |  |  | Rate Only
837 | H.11 |  | Bricklayer or Plasterer | hours |  |  | Rate Only
838 | H.12 |  | Welder | hours |  |  | Rate Only
839 |  | 8.7 | Plant
840 | H.13 |  | Tenderers to insert the hire rate at which each item will be charged, which is to cover all relevant costs of plant hire, including operating crew | hours
841 | H.14 |  | Lowbed transport of plant to and from site | hours |  |  | Rate Only
842 | H.15 |  | Bulldozer and ripper (D6 or equivalent) | hours |  |  | Rate Only
843 | H.16 |  | Grader (120G or equivalent) | hours |  |  | Rate Only
844 | H.17 |  | Front end wheel loaders (Cat 950 or similar) | hours |  |  | Rate Only
845 | H.18 |  | Back acting excavators (Hitachi EX200 or similar) | hours |  |  | Rate Only
846 | H.19 |  | T L B | hours |  |  | Rate Only
847 | H.20 |  | Tractors and drawn trailers and rollers | hours |  |  | Rate Only
Total Carried Forward
SECTION 1H: PRELIMINARY AND GENERAL: DAYWORKS
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
Brought Forward
848 | H.21 |  | Compactors (D72Y or equivalent) | hours |  |  | Rate Only
849 | H.22 |  | Compressors (250CFM or equivalent) | hours |  |  | Rate Only
850 | H.23 |  | Trucks (7t or equivalent) | hours |  |  | Rate Only
851 | H.24 |  | Tip Trucks (10t or equivalent) | hours |  |  | Rate Only
852 | H.25 |  | Water Tanker | hours |  |  | Rate Only
853 | H.26 |  | Plate Compactor | hours |  |  | Rate Only
854 | H.27 |  | Light delivery vehicles (1t or equivalent) | hours |  |  | Rate Only
855 | H.28 |  | Side Boom | hours |  |  | Rate Only
856 | H.29 |  | Generator to suite the Contractor's requirements, inclusive of power supply at camp site in the event of power outages; rate to incude hiring, fuel, etc | hours |  |  | Rate Only
| Total Carried Forward To Summary | [5 empty] | 0
SECTION 2: MOTOR CONTROL CENTRE, DISTRIBUTION BOARDS AND EQUIPMENT
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
894 | 2 |  | SECTION 2: MOTOR CONTROL CENTRE, DISTRIBUTION BOARDS AND EQUIPMENT
1438 | 2.1 | 1.003 f) | Removal of existing MCC panels and equipment in close liaison with Employer to ensure that interruption of pumping operations is kept to a minimum. Make safe all exposed busbars and cables. | Item | 1
1439 | 2.2 | 1.001 | Design and produce workshop drawings and documentation for new 400V MCC panel and equipment to house all existing plant supplies, as well as new DOL starter control panels for three new pumpsets of 110kW each. Design shall incude for facilities to interlock 2 out of 3 pumpsets, as well as for local, manual and remote/automatic control of pumpsets. | Item | 1
1440 | 2.3 | 1.002 f) | Provide and install new MCC complete with sheet metal panels, busbars, lockable doors, earth bars and ancilliary equipment, lightning arresters, with one 400V incomer section, three DOL starter panels with protection relays for 3 x 110kW pumpsets, pumpset control and indications section,PFC capacitors and LV Distribution Board. | Item | 1
1441 | 2.4 |  | Connect new MCC panel's incomer to Mains Supply | Item | 1
1442 | 2.5 |  | Provide and install emergency stop stations at each pumpset | each | 3
1443 | 2.6 |  | Hand over old MCC panels to Employer | Item | 1
1444 | 2.7 | 1.002 f) | Test and commission new MCC and issue COC | Item | 1
| Total Carried Forward | [5 empty] | 0
SECTION 2: MOTOR CONTROL CENTRE, DISTRIBUTION BOARDS AND EQUIPMENT
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
1445 | 2.8 |  | Extra over pump control panel to provide and install PLC equipment and HMI to augment the control and monitoring of the 3 main pumpsets, including cabling and wiring, marshalling cabinets, I/O modules, power supplies and software. Controls required for pumps 1,2 and 3: a) Local/Remote/Off key switch per pump b) Selector switch to select P1, P2 or P3 c) Stop/Start per pump d) Local/Remote/Off key switch per pump e) Selector switch to select P1, P2 or P3 f) Stop/Start per pump Indications: Mains supply available, Running Amps per pumpset, Hours run per pumpset, Pump Running/Stopped, Fault Trip Alarm (audible), Alarm reset, Emergency Stop Operated, Suction pressure low Alarm, suction level low Trip, reservoir level high Alarm, reservoir level high Trip. Software to allow for control/alarm logging with time stamping. | Item | 1
1446 |  |  | Documentation
1447 | 2.9 |  | Provide and hand over manuals, test results, log books, etc. for MCC, instrumentation and 400V equipment | Item | 1
1448 |  |  | Training
1449 | 2.10 |  | Provide training to personnel as per Specification | Item | 1
1450 | 2.11 |  | Provide suitably qualified Systems Integrator to configure and commission SCADA and PLC System | Item | 1
1583 | 2.12 |  | Provisional Sum for Ancillary Items | Prov Sum | 1 | 500000 | 500000
| Total Carried Forward To Summary | [5 empty] | 500000
SECTION 3: PUMPING PLANT
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
971 | 3 |  | SECTION 3: PUMPING PLANT
979 |  |  | Remove existing 400V pumpsets, baseplates, pipe work, fittings and plinths in close liaison with Employer so as to keep pumping operation disruptions to a minimum. One pump set must be operational at a minimum at all times, and one standby unit available at all times.
980 | 3.1 |  | Main pumpset P1 | Item | 1
981 | 3.2 |  | Main pumpsets P2 & P3 | Item | 2
982 |  |  | Supply, factory acceptance testing, deliver and install new centrifugal pumps, 50 l/s each at a head of approximately 130m, complete with bearing vibration monitors, DE and NDE bearing temperature monitors and casing temperature monitors, complete with construction of RC plinths, baseplate and couplings:
983 | 3.3 | 6,01, 6,02, 6,04, 7,01, 7,02 | Supply | each | 3
984 | 3.4 | 7.03 | Install | each | 3
985 |  |  | Supply, deliver and install new 110kW 400V induction motors, suitable for DOL starting and equipped with winding temperature and bearing temperature sensors, for main pumps:
986 | 3.5 | 6,01, 6,02, 6,04 | Supply | each | 3
988 | 3.6 | 6.03 | Install | each | 3
989 |  |  | Supply and deliver new ultrasonic flow meter, 1% accuracy, Sensus, Tokio Keiki or better
991 | 3.7 | 1.002 f) | Supply | each | 1
992 | 3.8 | 1.003 f), 6,03 | Install | each | 1
993 | 3.9 | 1.001 | Extra over main pumps to test and verify pipeline system curve and to select pumpsets P1, P2 and P3 for optimum performance with one pumpset and two pumpsets in parallel | No. | 10
| Total Carried Forward | [5 empty] | 0
SECTION 3: PUMPING PLANT
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
994 |  |  | Extra over main pumps P1, P2 and P3 to provide modifications to inlet and outlet pipe work as necessary, including corrosion protective coatings, flanges, insulating flanges, nuts, bolts, gaskets and seals, valves, etc (each item to be specified and priced by the Contractor in a covering letter):
995 | 3.10 | 4,01, 4,02, 5,01 | Supply inlet pipe work, fittings, valve etc | Sum | 1
996 | 3.11 | 4.03 | Install inlet pipe work fittings, valve etc | Sum | 1
997 | 3.12 | 4,01, 4,02, 5,01 | Supply outlet pipe work fittings, valve etc | Sum | 1
998 | 3.13 | 4.03 | Install outlet pipe work fittings, valve etc | Sum | 1
999 |  |  | Extra over main pumps P1, P2 and P3 to supply and install pressure gauges, pressure switches, flow switches and valve position indicators, to be specified by the Contractor (Each item to be separately specified and priced by the Contractor in a covering letter):
1000 | 3.14 |  | Pressure gauges | Sum | 1
1065 | 3.15 |  | Pressure switches | Sum | 1
1066 | 3.16 |  | Flow switches | Sum | 1
1067 | 3.17 |  | Valve position indicators. | Sum | 1
1068 |  |  | Reservoir water level sensor at Mabeskraal Reservoir with local level transmitter and indicator, together with all inter-facing equipment, power supplies and housings, radio transmitter and antenna, as well as antenna, radio receiver and all interfacing equipment at Mabeskraal pump station and equipment housings, power supplies to display reservoir level to PLC equipment for pump control.
1069 | 3.18 | 1.002 f) | Supply | each | 1
1001 | 3.19 | 1.003 f) | Install | each | 1
1002 | 3.1 |  | COMMISSIONING
| Total Carried Forward | [5 empty] | 0
SECTION 3: PUMPING PLANT
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
1003 | 3.1.1 | 8.01 | Test and commission the pump installations pertinent to this Bill of Quantities to the satisfaction of the Engineer and issue the necessary test certificates and Certificate of Compliance | Sum | 1
1004 | 3.1.2 | 8.02 | Trial Operations | Sum | 1
1235 | 3.1.3 | 8.03 | Documentation | Sum | 1
1236 |  |  | Provide and hand over manuals, test results, log books, etc. for MCC, Pumps, Valves, Pump Control Panel and 400V equipment
1237 | 3.1.4 | 8.04 | Testing | Sum | 1
1238 | 3.1.5 | 8.05 | Training | Sum | 1
1239 |  | 8.06 | Inspection and Servicing during DNP
1240 | 3.1.6 |  | Inspection Service 1 | Sum | 1
1241 | 3.1.7 |  | Inspection Service 2 | Sum | 1
1242 | 3.1.8 |  | Inspection Service 3 | Sum | 1
1243 |  |  | Additional Site Visits
1244 | 3.1.9 | 8.08 a | Transport | Days | 20
1005 | 3.1.10 | 8.08 b | Site Operations | Days | 20
1006 |  |  | Oil water separator complete
1007 | 3.1.11 | 7.06 | Supply | Sum | 1
1008 | 3.1.12 | 7.05 | Install | Sum | 1
1009 |  |  | Sump drainage pump complete
1245 | 3.1.13 | 7.04 | Supply | Sum | 1
1246 | 3.1.14 | 7.05 | Install | Sum | 1
1247 |  |  | Spares
1248 | 3.1.15 | 4.04, 7.08 | Supply all the spares | Sum | 1
| Total Carried Forward To Summary | [5 empty] | 0
SECTION 4: CABLING AND DISTRIBUTION EQUIPMENT
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
1019 | 4 |  | SECTION 4: CABLING AND DISTRIBUTION EQUIPMENT
1451 | 4.1 |  | LOW VOLTAGE CABLES
1452 |  |  | 600/100V grade PVC/SWA/PVC stranded copper conductor cables (terminations elsewhere measured)
1453 |  |  | Laid in trench, pulled through cavity in wall or sleeves, laid in ducts or installed on cable trays or ladders
1454 |  |  | 95mm² 4 core in parallel for new incoming supply
1455 | 4.1.1 |  | Supply | m | 200
1456 | 4.1.2 |  | Install | m | 200
1457 |  |  | 150mm² 4 core for 110kW motors
1458 | 4.1.3 |  | Supply | m | 60
1459 | 4.1.4 |  | Install | m | 60
1460 |  |  | 2.5mm² 4 core
1461 | 4.1.5 |  | Supply | m | 50
1462 | 4.1.6 |  | Install | m | 50
1463 |  |  | 10mm² 3 core
1464 | 4.1.7 |  | Supply | m | 160
1465 | 4.1.8 |  | Install | m | 160
1466 |  |  | 2,5mm² 2 core
1467 | 4.1.9 |  | Supply | m | 60
1468 | 4.1.10 |  | Install | m | 60
1469 |  |  | 2,5mm² 7 core
1470 | 4.1.11 |  | Supply | m | 50
1471 | 4.1.12 |  | Install | m | 50
1472 | 4.2 |  | CABLE TERMINATIONS
| Total Carried Forward | [5 empty] | 0
SECTION 4: CABLING AND DISTRIBUTION EQUIPMENT
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
1473 |  |  | Terminate 600/1000V grade PVC/SWA/PVC cables complete, including drilling, lugs, identification markers, gland, waterproof shroud, etc. for:
1474 |  |  | 95mm² 4 core
1475 | 4.2.1 |  | Supply | each | 8
1476 | 4.2.2 |  | Install | each | 8
1477 |  |  | 150mm² 4 core
1478 | 4.2.3 |  | Supply | each | 8
1479 | 4.2.4 |  | Install | each | 8
1480 |  |  | 2,5mm² 4 core
1481 | 4.2.5 |  | Supply | each | 8
1482 | 4.2.6 |  | Install | each | 8
1483 |  |  | 10mm² 3 core
1484 | 4.2.7 |  | Supply | each | 8
1485 | 4.2.8 |  | Install | each | 8
1486 |  |  | 2,5mm² 2 core
1487 | 4.2.9 |  | Supply | each | 8
1488 | 4.2.10 |  | Install | each | 8
1489 |  |  | 2,5mm², 7 core
1490 | 4.2.11 |  | Supply | each | 20
1491 | 4.2.12 |  | Install | each | 20
1492 | 4.3 |  | EARTH WIRE
1493 |  |  | Terminate stranded bare copper earth wires
1494 |  |  | 70mm²
1495 | 4.3.1 |  | Supply | each | 6
1496 | 4.3.2 |  | Install | each | 6
| Total Carried Forward | [5 empty] | 0
SECTION 4: CABLING AND DISTRIBUTION EQUIPMENT
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
1497 |  |  | 95mm²
1498 | 4.3.3 |  | Supply | each | 8
1499 | 4.3.4 |  | Install | each | 8
1500 |  |  | Up to 16mm²
1501 | 4.3.5 |  | Supply | each | 20
1502 | 4.3.6 |  | Install | each | 20
1503 |  |  | Up to 10mm²
1504 | 4.3.7 |  | Supply | each | 20
1505 | 4.3.8 |  | Install | each | 20
1506 | 4.4 |  | EARTH WIRE TERMINATIONS
1507 |  |  | Terminate stranded bare copper earth wires
1508 |  |  | 70mm²
1509 | 4.4.1 |  | Supply | each | 4
1510 | 4.4.2 |  | Install | each | 4
1511 |  |  | 95mm²
1512 | 4.4.3 |  | Supply | each | 6
1513 | 4.4.4 |  | Install | each | 6
1514 |  |  | Up to 16mm²
1515 | 4.4.5 |  | Supply | each | 20
1516 | 4.4.6 |  | Install | each | 20
1517 | 4.5 |  | CONTROL AND INSTRUMENTATION CABLES
1518 |  |  | Laid in trench, pulled through cavity in wall or sleeves, laid in ducts or installed on cable trays or ladders
1519 |  |  | 2 Pair, 1,5 mm² XLPE, OAM, PVC, 300V rated instrumentation cabling
1520 | 4.5.1 |  | Supply | m | 60
| Total Carried Forward | [5 empty] | 0
SECTION 4: CABLING AND DISTRIBUTION EQUIPMENT
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
1521 | 4.5.2 |  | Install | m | 60
1522 |  |  | 4 Pair, 1,5 mm² XLPE, OAM, PVC, 300V rated instrumentation cabling
1523 | 4.5.3 |  | Supply | m | 200
1524 | 4.5.4 |  | Install | m | 200
1525 |  |  | 8 Pair, 1,5 mm² XLPE, OAM, PVC, 300V rated instrumentation cabling
1526 | 4.5.5 |  | Supply | m | 30
1527 | 4.5.6 |  | Install | m | 30
1528 | 4.6 |  | TERMINATION OF CONTROL AND INSTRUMENTATION CABLES
1529 |  |  | Terminate control and instrumentation cables complete, including drilling, lugs, identification markers, gland, waterproof shroud, etc. for:
1530 |  |  | 2 Pair, 1,5 mm² XLPE, OAM, PVC, 300V rated instrumentation cabling
1531 | 4.6.1 |  | Supply | each | 15
1532 | 4.6.2 |  | Install | each | 15
1533 |  |  | 4 Pair, 1,5 mm² XLPE, OAM, PVC, 300V rated instrumentation cabling
1534 | 4.6.3 |  | Supply | each | 15
1535 | 4.6.4 |  | Install | each | 15
1536 |  |  | 8 Pair, 1,5 mm² XLPE, OAM, PVC, 300V rated instrumentation cabling
1537 | 4.6.5 |  | Supply | each | 30
1538 | 4.6.6 |  | Install | each | 30
1539 |  |  | Cable ladders, cable trays or cable racks with T-pieces, reducers, bends, joints and fixings
1540 |  |  | 300mm wide
1541 | 4.6.7 |  | Supply | m | 20
| Total Carried Forward | [5 empty] | 0
SECTION 4: CABLING AND DISTRIBUTION EQUIPMENT
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
1542 | 4.6.8 |  | Install | m | 20
1543 |  |  | 150mm wide
1544 | 4.6.9 |  | Supply | m | 20
1545 | 4.6.10 |  | Install | m | 20
| Total Carried Forward To Summary | [5 empty] | 0
SECTION 5: LIGHTING AND SMALL POWER
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
465 | 5 |  | SECTION 5: LIGHTING AND SMALL POWER
482 | 5.1 |  | CONDUIT
483 |  |  | Galvanised conduit, including saddles and fixings
1101 |  |  | 20mm diameter conduit
1102 | 5.1.1 |  | Supply | m | 70
1103 | 5.1.2 |  | Install | m | 70
1104 |  |  | 25mm diameter conduit
1105 | 5.1.3 |  | Supply | m | 30
1106 | 5.1.4 |  | Install | m | 30
1107 |  |  | 100 X 100mm conduit boxes
1234 | 5.1.5 |  | Supply | each | 5
1108 | 5.1.6 |  | Install | each | 5
1109 |  |  | 100 X 50mm conduit boxes
1340 | 5.1.7 |  | Supply | each | 10
1341 | 5.1.8 |  | Install | each | 10
1342 | 5.2 |  | WIREWAYS
1343 |  |  | Galvanised wireways O-Line or similar with lid:
1344 | 5.3 |  | P2000
1345 | 5.3.1 |  | Supply | m | 20
1346 | 5.3.2 |  | Install | m | 20
1347 | 5.4 |  | P9000
1348 | 5.4.1 |  | Supply | m | 5
1349 | 5.4.2 |  | Install | m | 5
1350 | 5.5 |  | LUMINARIES
1351 |  |  | Linear 54W LED IP65 surface mounted, 1200mm
1352 | 5.5.1 |  | Supply | each | 2
| Total Carried Forward | [5 empty] | 0
SECTION 5: LIGHTING AND SMALL POWER
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
1353 | 5.5.2 |  | Install | each | 2
1354 |  |  | LED outdoor floodlight, 100W, Beka Omniflood or similar
1355 | 5.5.3 |  | Supply | each | 2
1356 | 5.5.4 |  | Install | each | 2
1357 |  |  | LED outdoor round bulkhead luminaire, 21W
1358 | 5.5.5 |  | Supply | each | 2
1359 | 5.5.6 |  | Install | each | 2
1360 | 5.6 |  | LIGHT SWITCHES, SWITCHED SOCKET OUTLET AND WELDING PLUGS
1361 | 5.6.1 |  | 16A single switched socket outlets | No. | 2
1362 | 5.6.2 |  | 400 volt 63 amp 3 ph+N+E welding plugs | No. | 1
1363 | 5.6.3 |  | 16A light switches1L 1Way | No. | 4
1364 | 5.7 |  | CONDUCTORS
1365 |  |  | 600/1000V Grade PVC insulated stranded copper conductors drawn into conduit and wireways
1366 |  |  | 1,5 mm²
1367 | 5.7.1 |  | Supply | m | 50
1368 | 5.7.2 |  | Install | m | 50
1369 |  |  | 2,5 mm²
1370 | 5.7.3 |  | Supply | m | 200
1371 | 5.7.4 |  | Install | m | 200
1372 |  |  | 4 mm²
1373 | 5.7.5 |  | Supply | m | 20
1374 | 5.7.6 |  | Install | m | 20
1375 |  |  | Bare stranded copper wire earth conductors drawn into conduit and wireways
| Total Carried Forward | [5 empty] | 0
SECTION 5: LIGHTING AND SMALL POWER
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
1376 |  |  | 1,5 mm²
1377 | 5.7.7 |  | Supply | m | 130
1378 | 5.7.8 |  | Install | m | 130
1379 |  |  | 2,5 mm²
1380 | 5.7.9 |  | Supply | m | 100
1381 | 5.7.10 |  | Install | m | 100
1382 |  |  | 4 mm²
1383 | 5.7.11 |  | Supply | m | 30
1384 | 5.7.12 |  | Install | m | 30
1385 | 5.8 |  | GALVANISED POLE FOR MOUNTING OF FLOOD LIGHTS
1386 |  |  | 5m mounting height pole with foot plate, cable entry and gland plate with 6A MCB, complete with cover plate with tamper-proof bolt
1387 | 5.8.1 |  | Supply | each | 1
1388 | 5.8.2 |  | Install | each | 1
| Total Carried Forward To Summary | [5 empty] | 0
SECTION 6: EARTHING AND LIGHTNING PROTECTION
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
1308 | 6 |  | SECTION 6: EARTHING AND LIGHTNING PROTECTION
1389 | 6.1 |  | LIGHTNING PROTECTION
1390 |  |  | Building and system earthing
1391 | 6.1.1 |  | Provide service of authorised lightning protection specialist for layout for lightning protection to structures in accordance with SANS 62305: 2007 | Item | 1
1392 |  |  | Provide all materials, earth rods, air conductors, air terminals, down conductors and common bonding as specified on specialist's drawings
1393 | 6.1.2 |  | Supply | Item | 1
1394 | 6.1.3 |  | Install | Item | 1
1395 |  |  | Documentation
1396 | 6.1.4 |  | Test and commission lightning protection system | Item | 1
1397 | 6.1.5 |  | Issue Certificate of Compliance per SANS 62305: 2007 | Item | 1
| Total Carried Forward To Summary | [5 empty] | 0
SECTION 7: METER
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
1546 | 7 |  | SECTION 7: METER
1547 | 7.1 | SABS 1200DA | EXCAVATION
1548 | 7.1.1 | 8.3.2(a) | Excavation in all materials for chambers and other minor structures outside the limits of the trench excavation, backfill, compact and dispose of surplus / unsuitable material, Including shoring. | m³ | 70
1549 | 7.1.2 | 8.3.2(b) | Extra over Item 7.1.1 for excavation in hard rock. | m³ | 30
1550 | 7.1.3 | 1200DB 8.3.2 (c) | Excavate unsuitable material from chamber bottom and dispose. | m³ | 20
1551 | 7.1.4 |  | a) Bedding imported Selected G5 Material compacted in 3 x 150 mm thickness layers compacted to 95%MOD AASHTO Density at -1% to +2% OMC. | m³ | 15
1552 | 7.1.5 |  | b) 75mm 15MPa/19mm Blinding Layer | m³ | 3
1553 | 7.1.6 |  | c) Building paper | m² | 35
1554 | 7.1.7 | PSA 8.10 | 500 mm LONG x 80 mm THICK DISHED RENO MATTRESS to suit holes at accumulating scour valve chambers. | m² | 100
1555 | 7.2 |  | VALVES, METERS AND PIPE SPECIALS
1556 |  |  | Supply, fabricate, handle, lay, joint, test and disinfect steel specials, including all nuts, bolts, gaskets, jointing material, preparation for welding where required and the repair and making good of all coatings and linings to manufacturer's specifications. All flanges to SANS 1123, Table 4000/3 unless otherwise stated: Refer to Drawing No BCE035-MW-DR-18. All flanges are to be supplied complete with bolts, nuts, washers and gaskets.
1557 | 7.2.1 |  | 355 OD X 250 OD Eccentric Reducer (Both Ends Flanged) T = 12.7 mm | No. | 2
1558 | 7.2.2 |  | Unequal Tee 250 mm OD (T = 9.27 mm) X 88.9 mm OD (T = 7.62 mm) (All Ends Flanged) | No. | 2
1559 | 7.2.3 |  | T = 9.27 mm X 250 mm OD Straight Pipe (Both Ends Flanged). Cut to Suit on Site. | No. | 1
1560 | 7.2.4 |  | 250 mm ND Gate Isolating Valve | No. | 2
| Total Carried Forward | [5 empty] | 0
SECTION 7: METER
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
1561 | 7.2.5 |  | 150 mm ND Mechanical Water Meter Woltmann Class B for Qp =151 l/s (550 000 l/h Flow). 16 Bar Pressure Rating | No. | 1
1562 | 7.2.6 |  | T = 9.27 mm X 250 mm OD Straight Pipe (Both Ends Flanged). 1250mm in length. | No. | 1
1563 | 7.2.7 |  | T = 9.27 mm X 250 mm OD Straight Pipe (Both Ends Flanged). 1000mm in length. | No. | 1
1564 | 7.2.8 |  | Restrained Flange Adaptor for Fixing 250 mm OD Pipe to Valve Flange | No. | 1
1565 | 7.2.9 |  | Unequal Tee 88.9 mm OD (T = 9.27 mm) X 88.9 mm Od (T = 7.62 mm) (All Ends Flanged) | No. | 1
1566 | 7.2.10 |  | 80 mm ND Gate Isolating Valve | No. | 2
1567 | 7.2.11 |  | 88.9 mm Od (T = 7.62 mm) (One End Flanged). Cut to Suit on Site. | No. | 3
1568 | 7.3 |  | CONCRETE AND STEELWORKS
1569 |  |  | Supply all materials, excavate and construct the chamber for flow meter complete (access covers frame, ladders, step irons, blinding layer, building paper, crushed stone, drainage hole, pipe support, etc) as shown on Drawing No BCE035-MW-DR-18 (pipework, fittings and valve measured separately for depths:
1570 | 7.3.1 |  | Supply and construct 25MPa/19mm Concrete (Floor, wall and top slabs) | m³ | 15
1571 | 7.3.2 |  | 25MPa/19mm Precast Concrete Cover Slab (1500mm x 3000mmx200mm) | m³ | 6
1572 | 7.3.3 |  | Extra over G.20 for construction of a complete headwall including reinforcement | No. | 1
1573 |  |  | Extra over G.20 to supply, install and fix reinforcement (headwall reinforcement measured separately) for:
1574 | 7.3.4 |  | High tensile steel bars up to and including 12mm | t | 2
1575 | 7.3.5 |  | Supply and install 2 x layers of Ref 395 Mech reinforcing | m² | 60
1576 | 7.3.6 |  | Lockable manhole cover and GMS Grab Bar | No. | 1
| Total Carried Forward | [5 empty] | 0
SECTION 7: METER
| ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
| Brought Forward | [5 empty] | 0
1577 | 7.3.7 |  | 100 mm DIA. X 2.0 mm thick Stainless Steel Vent Pipe with Puddle Flange, complete with perforated S/S Plate and gauze cap. | No. | 2
1578 | 7.3.8 |  | Hot-Dipped Galvanised MS Ladder | No. | 1
1579 | 7.3.9 |  | Plasto Step' or equally approved Polypropylene Step Irons @ 300mm C/C, as per drawing | Sum | 1
1580 | 7.3.10 |  | Floor screed (1% Slope as indicated on drawing, with 300x300 drainage opening or sump | No. | 1
1581 | 7.3.11 |  | Gabion Mattress Erosion Protection | m³ | 0
1582 | 7.3.12 |  | 100mm Layer of 19mm Crushed Stone (Provisional Sum) | m³ | 3
| Total Carried Forward To Summary | [5 empty] | 0
|  | SECTION | DESCRIPTION |  |  |  | AMOUNT R
|  | 1A | SECTION 1A: PRELIMINARY AND GENERAL: FIXED CHARGES |  |  |  | 40000
|  | 1B | SECTION 1B: PRELIMINARY AND GENERAL: TIME RELATED |  |  |  | 0
|  | 1C | SECTION 1C: PRELIMINARY AND GENERAL: OHS |  |  |  | 0
|  | 1D | SECTION 1D: PRELIMINARY AND GENERAL: ENVIRONMENT |  |  |  | 130000
|  | 1E | SECTION 1E: PRELIMINARY AND GENERAL: ANCILLARY ITEMS |  |  |  | 1025000
|  | F | SECTION 1F: PRELIMINARY AND GENERAL: SOCIO ECONOMIC |  |  |  | 218000
|  | 1G | SECTION 1G: PRELIMINARY AND GENERAL: PROVISIONAL SUMS |  |  |  | 600000
|  | 1H | SECTION 1H: PRELIMINARY AND GENERAL: DAYWORKS |  |  |  | 0
|  | 2 | SECTION 2: MOTOR CONTROL CENTRE, DISTRIBUTION BOARDS AND EQUIPMENT |  |  |  | 500000
|  | 3 | SECTION 3: PUMPING PLANT |  |  |  | 0
|  | 4 | SECTION 4: CABLING AND DISTRIBUTION EQUIPMENT |  |  |  | 0
|  | 5 | SECTION 5: LIGHTING AND SMALL POWER |  |  |  | 0
|  | 6 | SECTION 6: EARTHING AND LIGHTNING PROTECTION |  |  |  | 0
|  | 7 | SECTION 7: METER |  |  |  | 0
|  |  | SUBTOTAL A |  |  |  | 2513000
|  |  | Add 10% for contingencies on subtotal A |  |  |  | 251300
Are Tender rates Fixed Yes/No*
|  |  | SUBTOTAL B |  |  |  | 2764300
|  |  | Add 15% VAT |  |  |  | 414645
|  |  | CONTRACT PRICE CARRIED FORWARD TO FORM OF OFFER |  |  |  | 3178945
* Delete one